## Sheet1
Note: If a particular inner radius of the heat exchanger does not work, please note your observation.
Parallel Flow
Item | Units | Value | Value
Inner Tube inner radius | meters | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05
Heat Exchanger Length L | meters | nan | nan | 96.9 | 68.34 | 61.57 | 58.63 | 57.05 | 56.09 | 55.46 | 55.02
Coolant Flow Rate | kg/hr | 253.04 | 1431.42 | 3944.52 | 8097.31 | 14145.41 | 22313.55 | 32804.67 | 45805.28 | 61488.92 | 80018.52
Outlet Temperature of Coolant | °C | 344.41 | 60.88 | 22.09 | 10.76 | 6.16 | 3.91 | 2.66 | 1.9 | 1.42 | 1.09
Cost of Heat Exchanger (Metal) | $ | nan | nan | 154464.6 | 193668.49 | 272601.29 | 373844.32 | 495149 | 635846.5 | 795663.47 | 974465.91
Operating Cost per Hour | $ | 2.53 | 14.31 | 39.45 | 80.97 | 141.45 | 223.14 | 328.05 | 458.05 | 614.89 | 800.19
Overall Heat Transfer Coefficient UA | W/K | nan | nan | 671.69 | 497.53 | 458.94 | 443.13 | 435.06 | 430.4 | 427.48 | 425.54
Counter Flow
Item | Units | Value | Value
Inner Tube inner radius | meters | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | Given.
Heat Exchanger Length L | meters | nan | 118.86 | 70.06 | 61.62 | 58.42 | 56.81 | 55.87 | 55.27 | 54.86 | 54.57 | Anywhere from ~8 to ~100 was considered acceptable.
Coolant Flow Rate | kg/hr | 253.04 | 1431.42 | 3944.52 | 8097.31 | 14145.41 | 22313.55 | 32804.67 | 45805.28 | 61488.92 | 80018.52 | These values should be pretty close
Outlet Temperature of Coolant | °C | 344.41 | 60.88 | 22.09 | 10.76 | 6.16 | 3.91 | 2.66 | 1.9 | 1.42 | 1.09 | These values needed to be proportional to mdot
Cost of Heat Exchanger (Metal) | $ | nan | 84207.61 | 111672.87 | 174622.51 | 258656.05 | 362230.31 | 484922.24 | 626567.21 | 787087.4 | 966441.07 | Depends greatly based on length, but optimal configuration should at least be close to 10k
Operating Cost per Hour | $ | 2.53 | 14.31 | 39.45 | 80.97 | 141.45 | 223.14 | 328.05 | 458.05 | 614.89 | 800.19 | These values should also be pretty close
Overall Heat Transfer Coefficient UA | W/K | nan | 709.53 | 485.61 | 448.6 | 435.47 | 429.37 | 426.08 | 424.12 | 422.87 | 422.04 | These values should also be pretty close
Optimized Heat Exchanger
Type of Heat Exchanger | Counter Flow
Item | Units | Value
Inner Tube inner radius | meters | 0.01
Heat Exchanger Length L | meters | 118.86
Coolant Flow Rate | kg/hr | 0.4
Outlet Temperature of Coolant | °C | 60.88
Cost of Heat Exchanger (Metal) | $ | 84207.61
Operating Cost per Hour | $ | 14.31
Overall Heat Transfer Coefficient UA | W/K | 709.53